## Slide 1
The more-storms run: what the numbers mean, and what comes next
Lab meeting · Thursday 23 October 2026 · Tanmay Jain
1
How we score
four numbers, each with a worked example
2
The results
13 unseen storms, 48 models, 9 predictions
3
What comes next
one pass from the flood map to risk
Say: Three parts: the yardsticks, the numbers, the next model.
Notes: Three parts today. First, how we score the fast model, because the numbers only make sense once the four metrics are clear; I will keep each one to a small worked example. Second, the result of the more-storms experiment that finished last week: thirteen storms the model never saw, forty-eight trained models, nine predictions written down before training. Third, the next model we discussed with Dr. Lin: one pass from the flood map to failure probabilities, with no sampling.

## Slide 2
THE EXPERIMENT
Train on 17 or 57 storms, test on 13 the model never saw
Train on
17 old storms — 13,600 simulator runs (the model we had).
57 storms, same 13,600 runs — 17 old + 40 new; same amount of training, more variety.
57 storms, all 45,600 runs — everything.
Test on
13 storms never used in training: 5 old (2.2 to 4.5 m) and 8 new (2.1 to 4.7 m).
5 of the 13 are bigger than any old training storm (above 3.64 m).
1,000 simulator runs on each; the model is scored run by run.
4 variants (static or arrival labels × with or without timing inputs) × 2 random starts × with or without the storm-size input = 48 trained models. 9 pass/fail predictions were written into the scoring script on 6 October, before any new storm was simulated.
Say: Three training sets, thirteen unseen storms, forty-eight models, predictions written first.
Notes: The setting. Three training sets: the seventeen old storms we always had; fifty-seven storms, which is the seventeen plus forty new ones from Gwyn's model, but using only the same thirteen thousand six hundred runs, so the amount of training is equal and only the variety changes; and fifty-seven storms with all forty-five thousand runs. The test is thirteen storms the model never saw: five old, eight new, and five of them larger than anything in the old training set. Every combination was trained twice from different random starts, with and without the storm-size input, so forty-eight models. And nine predictions were written on the sixth of October before any of this ran.

## Slide 3
HOW WE SCORE · 1 OF 4
Log loss: how far was each probability from what actually happened?
the model said | what the simulator did | penalty
90 % will fail | it failed | 0.11
50 % will fail | it failed | 0.69
10 % will fail | it failed | 2.30
10 % will fail | it survived | 0.11
Confident and right: small penalty. Confident and wrong: big penalty. Hedging at 50 %: medium either way. The only way to score well is to give the true probability — so it rewards being right and being honest about uncertainty.
One number per site, per horizon, per run, averaged over everything: 4 horizons (6/24/48/96 h), 1,000 runs, all non-seed sites.
Non-seed sites only. Seeds are the sites the flood knocked out directly; the model is told which they are, so scoring them would be free marks.
Lower is better. Easy static storm: 0.03–0.06. Arrival labels: 0.1–0.3 (more randomness in the labels).
Say: Small if confident and right, big if confident and wrong. Averaged over sites, horizons and runs.
Notes: First metric, log loss. For every site and every horizon the model gives a probability; the simulator says what happened. The penalty is small when the model was confident and right, large when confident and wrong, medium when it hedged at fifty percent. The only way to score well is to give the true probability, so this rewards honesty about uncertainty, not just being right. We average it over four horizons, a thousand runs and all non-seed sites; seeds are given to the model, so they are excluded. Lower is better. Typical values: three to six hundredths on an easy static storm, one to three tenths under arrival labels.

## Slide 4
HOW WE SCORE · 2 OF 4
Count error: how many sites did the model expect to fail, against how many did?
non-seed site | probability of failing
A | 0.9
B | 0.7
C | 0.3
D | 0.1
expected failures | 0.9 + 0.7 + 0.3 + 0.1 = 2.0
"About 2 of these 4" — not exactly 2, and not which 2. Picture 100 repeats: A fails ~90 times, B ~70, C ~30, D ~10: about 200 site-failures, 2 per repeat. Adding probabilities gives the expected count.
Count error = sum over the 1,000 runs of |expected − actual|, divided by the sum of actual. In words: on average, by what fraction of the true count were we off.
0.05 → 5 % off. 0.50 → off by half. 3.0 → wildly wrong (the misses add up to three times the true total).
Predicted ÷ simulated is the signed version: 3.28 means 3.28 × the true count (228 % too many); 1.09 means 9 % too many; 0.80 means 20 % too few.
Note: a good count does not prove the right sites were named — that is what ranking checks.
Say: Add up the probabilities: that is how many failures the model expects. Compare with what the simulator counted.
Notes: Second metric, count error. A probability per site becomes a count by adding the probabilities: point nine plus point seven plus point three plus point one is two expected failures out of these four. Not exactly two, and not which two; over a hundred repeats you would see about two hundred site failures, two per repeat. Count error then compares the expected count with the simulator's actual count, run by run, and divides by the total: five hundredths means five percent off, point five means off by half, three means wildly wrong. The predicted-over-simulated ratio is the signed version: three point two eight means three times too many; one point zero nine means nine percent too many.

## Slide 5
HOW WE SCORE · 3 OF 4
Ranking (AP): is the order right? Calibration (ECE): are the percentages honest?
Ranking — average precision (AP)
Sort the sites from most to least likely to fail. Walk down the list. Are the sites that really failed at the top?
1.0 = every failing site ranked above every surviving one. 0.9 is good, 0.97 very good.
Ignores the values, only the order. A model can rank perfectly and still exaggerate every probability.
Calibration — expected calibration error (ECE)
bin 30–40 % | value
predictions in the bin | 100
average stated probability | 35 %
really failed | 20 of 100 = 20 %
gap | 15 points
ECE = the gap averaged over ten such bins, weighted by how many predictions each holds. Rule of thumb: below 0.02 the probabilities can be read literally; 0.05–0.10 they should not. An average can hide one badly-off bin.
Say: AP asks whether the order is right; ECE asks whether "30 %" really means thirty percent.
Notes: Third, two metrics that look at different things. Average precision sorts the sites from most to least likely to fail and asks whether the ones that really failed are at the top: one is perfect, point nine good, point nine seven very good. It ignores the values and only looks at the order. Calibration error asks the opposite: when the model says thirty percent, do about thirty percent really fail? Put the predictions into ten bins; in the thirty-to-forty bin here the model said thirty-five on average and twenty percent failed, a gap of fifteen points. ECE is that gap averaged over the bins. Below two hundredths the probabilities can be read literally. One caution: it is an average, so one badly-off bin can hide.

## Slide 6
HOW WE SCORE · 4 OF 4
The floor: how low can any count error go on a given storm?
storm t580w24 (2.44 m) | by 6 h | by 24 h | by 48 h | by 96 h
simulator run 1 | 116 | 561 | 679 | 1,514
simulator run 2 | 184 | 237 | 273 | 341
simulator run 3 | 123 | 225 | 289 | 360
Same storm, same flood map. In run 1 the cascade tipped; in runs 2 and 3 it fizzled. Whether the random backup buffers hold decides between ~350 and ~1,500 failures. Over 1,000 runs: 42 % end below half the mean.
A predictor that knows the storm but not the run's dice must give the same count for every run. The best single number is the median run. Its error is the floor.
Here the floor is 0.50: even the best fixed answer is off by half, because the runs themselves are split.
Judge every model against its storm's floor: big storms 0.01–0.04, the smallest 0.14–0.27, this one 0.50.
Our model sees each run's seeds, so it can dip slightly under the floor; it never sees the buffer draws.
Say: Some storms are coin flips for the simulator itself. The floor says how much count error is unavoidable.
Notes: Fourth, something new this week: the floor. Here are three of the thousand simulator runs of one medium storm. Same storm, same map; in run one the cascade tipped to fifteen hundred failures, in runs two and three it stopped near three hundred fifty. The random backup draws decide. Now, any predictor that knows the storm but not that run's dice has to give the same count for every run, and the best single number is the median run. Even that best possible answer is off by half here, because the runs themselves are split. That is the floor, zero point five for this storm. For big storms it is one to four percent, for the smallest fourteen to twenty-seven. So each model should be judged against the floor of its storm, not against zero. One nuance: our model does see each run's seeds, so it can go slightly under the floor; it never sees the buffers.

## Slide 7
BEFORE THE NUMBERS
Three yardsticks: a baseline with no learning, a check on luck, and no moving of goalposts
The lookup table
No neural network. For a new storm, take the training storm with the closest peak water level and reuse its failure frequencies.
Strong on GISSR maps, which are nested by water level (a 3.4 m footprint is a 3.1 m footprint plus a ring). Weak on a map with a different pattern (GeoClaw).
Two random starts
Every setting was trained twice from different random initialisations. Tables show the mean.
A win is called clear only if both starts of one setting beat both starts of the other. A transparency rule, not a significance test.
Predictions written first
Nine pass/fail sentences were put into the scoring script on 6 October, before training.
The script prints PASS or MISS. We report both, and a miss is often the most informative line.
Say: Beat the lookup, agree across random starts, and say what we predicted before we saw the answer.
Notes: Three yardsticks before the numbers. The lookup table is a baseline with no learning: for a new storm, reuse the failure frequencies of the training storm with the closest water level. It is very strong on GISSR maps because those maps are nested, and weak on a map with a different shape. Second, every setting was trained twice from different random starts, and a win only counts as clear if both starts agree. Third, nine predictions were written into the scoring script before training; the script prints pass or miss, and we report both.

## Slide 8
RESULTS · 1 OF 7
Above the old range, more storms help — and it is the variety of storms that does it
Chart: Log loss on the 5 unseen storms above the old range (static labels, mask inputs; lower is better)
| 3.75 m | 3.80 m | 4.13 m | 4.46 m | 4.72 m
17 storms | 0.114 | 0.118 | 0.132 | 0.155 | 0.199
57 storms | 0.078 | 0.078 | 0.079 | 0.091 | 0.124
5 of 5 storms, in all 4 variants: 33 to 37 % lower loss.
Same amount of training, 57 storms: also 5 of 5. New storms teach more than new runs of old storms.
All 45,600 runs instead of 13,600: only 0.3 to 1.6 % better.
Predictions M1, M2, M7: PASS.
Say: New storms teach the model more than new runs of old storms.
Notes: First result. These are the five unseen storms larger than anything in the old training set. Grey is the model trained on seventeen storms, purple on fifty-seven. Every bar drops, by a third on average, and the same is true in all four variants. The fifty-seven-storm set with the same number of runs does exactly the same, so the gain comes from the variety of storms; using all forty-five thousand runs adds only one percent on top. Predictions M1, M2 and M7 all passed.

## Slide 9
RESULTS · 2 OF 7
Inside the old range the average hides a split: small storms got worse, bigger ones better
Chart: Change in log loss, 57 storms vs 17, on the 7 unseen storms inside the old range (static, mask)
| 2.10 m | 2.17 m | 2.44 m | 2.78 m | 3.12 m | 3.37 m | 3.46 m
change | 60.3 | 59.6 | 4.3 | -13.7 | -18.2 | -19.9 | -21.3
Two smallest storms: 60 % worse. Their predicted count went from 2–3 × to 3–5 × the simulated one.
Why: without a storm-size input, a site far from any flooded site answers with its average failure rate from training. Adding 40 mostly larger storms raised that average.
M3 PASS by cancellation (mean +4 to +7 %); M4 MISS (2 of 5 new storms).
Say: More data made the small-storm error worse, because the model had no way to know the storm was small.
Notes: Second result, and the one to understand. Inside the old range the average change was small, which is what prediction M3 asked for — but look at the storms one by one. The two smallest got sixty percent worse; everything from two point eight metres up got thirteen to twenty-one percent better. The reason: without a storm-size input, a site with no flooded site within two links receives the same input in every storm, so it answers with its average failure rate over training. Forty new, mostly larger, storms raised that average, so small storms are now over-counted three to five times. Not overfitting; a data-mix effect on a model that cannot see the storm's size. That is also why M4 missed.

## Slide 10
RESULTS · 3 OF 7
The scorecard: 6 of 9 predictions held, and the 3 misses are the informative part
prediction, in plain words | result | 
S1 Retraining the old model reproduces its validation loss | within 0.005 in every variant | PASS
M1 Above the old range, 57 storms beat 17 on ≥ 4 of 5, by ≥ 10 % | 5 of 5, −33 to −37 % | PASS
M2 The same-effort 57-storm set also beats 17 on ≥ 4 of 5 | 5 of 5 — the variety, not the runs | PASS
M3 Inside the range, static labels: mean change within ±10 % | +4 / +7 % — by cancellation (slide 9) | PASS
M4 Inside the range, arrival labels: 57 beats 17 on ≥ 4 of 5 new storms | 2 of 5 — small storms worse | MISS
M5 Timing inputs win on ≥ 10 of 12 GISSR storms and by ≥ 10 % at 6 h | 12 of 12, −18 % at 6 h | PASS
M6 The GeoClaw map (a different flood model) does not benefit | it improved 6–23 % in all 4 variants | MISS
M7 All 45,600 runs within 10 % of the same-effort set | 0.3–1.6 % apart | PASS
L1 Without a size input the lookup stays ahead on ≥ 9 of 12 GISSR storms | 8–11 of 12 (one variant at 8): true in substance | MISS
Judged on the models without the storm-size input, as pre-registered. scripts/week29_morestorms_table_v1.py, commit f2b40ea.
Say: Two misses are good news in disguise; the third confirms the lookup problem.
Notes: The scorecard. Six passed, three missed. M4 we just saw. M6 missed in the good direction: I predicted the GeoClaw map, which comes from a different flood model, would not benefit from GISSR storms; it improved in all four variants. The model learns cascade physics, not footprints. L1 missed on its wording — one variant had eight of twelve instead of nine — but its substance held: without a storm-size input, the lookup table is still the better predictor on most GISSR storms.

## Slide 11
RESULTS · 4 OF 7
With the storm-size input: lowest error everywhere, ahead of the lookup on 12 of 13 storms
mean log loss, 13 unseen storms | static, mask | static, +timing | arrival, mask | arrival, +timing
57 storms, no size input | 0.087 | 0.080 | 0.204 | 0.177
17 storms + size input | 0.063 | 0.065 | 0.119 | 0.125
57 storms + size input | 0.054 | 0.054 | 0.109 | 0.099
lookup table from 57 storms | 0.074 | 0.074 | 0.162 | 0.162
storms (of 13) where the model beats the lookup, without → with size input | 3 → 12 | 5 → 12 | 2 → 12 | 4 → 12
Size input, same 57 storms: 32 to 47 % lower loss, better on all 13 storms in every variant.
More storms still help with the size input, above the old range: 10 to 43 % lower than 17 storms + size input.
Honest note: no prediction was registered for this variant, so these numbers are descriptive, not a verdict.
Say: Size input plus more storms: the error roughly halves and the lookup is beaten almost everywhere.
Notes: Fourth result, the headline. Add the storm-size input — seven numbers computed from the seeds that tell every site how big the storm is — and keep the fifty-seven storms. The loss drops by a third to a half compared with no size input, on all thirteen storms in every variant, and the model is now ahead of the lookup table on twelve of thirteen storms in every variant, where before it won two to five. More storms still help with the size input, above the old range. One honest note: no prediction was registered for this variant, so these are descriptive numbers, not a verdict.

## Slide 12
RESULTS · 5 OF 7
Count error against the floor: the size-input model sits where the simulator's own randomness puts it
unseen storm (static labels, 96 h) | floor | lookup | no size input | with size input
2.10 m | 0.23 | 0.22 | 4.03 | 0.20
2.17 m (old) | 0.16 | 0.18 | 3.37 | 0.23
2.44 m, slow (tipping storm) | 0.50 | 0.56 | 0.53 | 0.54
2.78 m | 0.09 | 0.15 | 0.19 | 0.10
3.37 m (old) | 0.04 | 0.04 | 0.11 | 0.03
3.48 m GeoClaw map | 0.02 | 0.09 | 0.12 | 0.02
4.46 m (old) | 0.02 | 0.03 | 0.10 | 0.03
4.72 m | 0.04 | 0.04 | 0.12 | 0.04
Within 0.04 of the floor on 12 of 13 storms under static labels. The exception is the 2.17 m old storm.
Arrival labels: 9–10 of 13. Gaps on the 2.17 m storm and on GeoClaw (0.13–0.14 against a floor of 0.02).
The tipping storm: everyone is at its 0.50 floor. That error is the storm's own behaviour, not a model failure.
Without the size input: 0.04–0.12 above the floor on every big storm, 3–4 above on the smallest.
Floor = count error of the best single answer (the median run). Full table: analysis/gnn/week31_count_floor_v1.csv.
Say: Near the floor almost everywhere; what error remains is mostly the simulator's own coin flips.
Notes: Fifth result, the new one. For each unseen storm: the floor, then the lookup, the model without the size input, and the model with it. Read down the last column against the first: with the size input the model is within four hundredths of the floor on twelve of thirteen storms under static labels. The one exception is the smallest old storm, over-counted by about a quarter. The tipping storm in row three is at its floor of one half for everybody — that is the storm's behaviour, not a model failure. Without the size input, the model sits well above the floor on every big storm and three to four above it on the smallest two.

## Slide 13
RESULTS · 6 OF 7
Ranking and calibration: the order is right, and under static labels the percentages are honest
57 storms, 13 unseen storms, 2 starts | ranking AP, no size input | ranking AP, with | calibration ECE, no size input | calibration ECE, with
static, mask | 0.943 (worst storm 0.80) | 0.978 (0.95) | 0.025 (worst 0.054) | 0.005 (0.014)
static, +timing | 0.949 (0.82) | 0.978 (0.95) | 0.019 (0.047) | 0.004 (0.012)
arrival, mask | 0.933 (0.76) | 0.971 (0.89) | 0.088 (0.140) | 0.026 (0.073)
arrival, +timing | 0.939 (0.78) | 0.972 (0.91) | 0.070 (0.095) | 0.017 (0.041)
Ranking: 0.97–0.98 with the size input; even the worst unseen storm is at 0.89 or above. The failing sites are at the top of the list.
Calibration: below 0.01 under static labels — "30 %" can be read as thirty percent. Under arrival labels 0.02–0.03 on average, up to 0.04–0.07 on the worst storm: read with care.
Say: The order is right and, under static labels, the percentages are honest.
Notes: Sixth: the two metrics that look at the probabilities differently. Ranking quality is point nine seven to point nine eight with the size input, and even the worst storm is at point eight nine — the failing sites are at the top of the list. Calibration error is below one hundredth under static labels, so a thirty percent can be read as thirty percent. Under arrival labels it is two to three hundredths on average and up to seven on the worst storm, so there the probabilities should be read with more care.

## Slide 14
RESULTS · 7 OF 7
What is still open
1 The smallest old storm (2.17 m) is over-counted by 23–31 % with the size input; its floor is 0.14–0.16. About 55 sites on a count of 222. Not fixed, not yet understood.
2 The GeoClaw map under arrival labels: count error 0.13–0.14 against a floor of 0.02. Hard for every method (lookup 0.35). The one spatially different map is the hardest test — and the strongest reason to want more such maps.
3 Only 13 test storms, and GISSR maps are nested by water level, so "generalises across flood maps" is not yet a claim we can make. Directions are consistent across 4 variants × 2 starts; no significance test.
4 No prediction was registered for the size-input variant. Its results are descriptive; a fresh pre-registered test on new storms is needed before it goes in a paper.
5 Bookkeeping: the inference wrapper still lacks the size-input columns (a few lines), so the end-to-end flood-map path exists in code for the older models only.
Say: Two storms, one data limit, one bookkeeping item.
Notes: What is still open. One: the smallest old storm is over-counted by about a quarter even with the size input; not fixed, not understood. Two: the GeoClaw map under arrival labels is hard for every method, and it is the only map with a different spatial pattern — which is the strongest argument for more such maps. Three: thirteen test storms on nested maps means we cannot yet claim generalisation across flood maps. Four: nothing was pre-registered for the size-input variant. Five: a small bookkeeping item in the inference wrapper.

## Slide 15
WHAT COMES NEXT · 1 OF 2
One pass from the flood map to failure probabilities — the model discussed with Dr. Lin
Flood map
depth at every site; timing table
Fragility curve
φ per site, closed form, no coin flip; expected number of flooded sites
GNN (unchanged)
message passing over the links → cascade part g
Compose
p = φ + (1 − φ) · g
flood part exact; network learns only g
P(fail by 6/24/48/96 h)
every site, one pass, ≈ 10 ms, no sampling
Simulator, 1,000 runs
already on disk for all 70 storms
Target
share of the 1,000 runs in which the site had failed
Loss, then update
compare p with the target; lowest when p equals it
same storm
update the network (training only)
Training (top row) · Prediction (bottom row)
Three changes, nothing else:
1 One training example = one storm (57 of them), split by storm.
2 Inputs = the flood map: depth, the fragility probability φ from the Hazus curve, the expected number of flooded sites, timing. No seed bit, nothing sampled.
3 Target = the storm's 1,000-run failure probability per site, which we already have for all 70 storms.
Output p = φ + (1 − φ) · g: the flood part is exact, the network learns only the cascade part g. Example: φ = 0.5, g = 0.6 → p = 0.80.
Same network, same message passing, same training discipline. Red-outlined boxes are new; the rest is unchanged. Full diagram in the design note.
Say: Same network, new inputs, new target: flood map in, probabilities out, no sampling.
Notes: What comes next. Today's model answers a conditional question — given these flooded sites, who else fails — and needs a hundred sampled seed sets to give a storm-level answer. The direct model answers the storm-level question in one pass. Three things change. One training example is one storm instead of one run. The inputs are the flood map itself: depth, the fragility probability from the Hazus curve, the expected number of flooded sites, timing; no seed bit, nothing sampled. The target is the storm's thousand-run probability per site, which we already have for all seventy storms. The output is composed so the flood part is exact and the network learns only the cascade part: if a site has a fifty percent chance of being flooded out and the network says sixty percent for the cascade, the total is eighty. Nothing else changes.

## Slide 16
WHAT COMES NEXT · 2 OF 2
How we will test it before believing it — and what we need from you
The test, pre-registered again
Same 13 unseen storms, scored against the simulator's own probabilities.
Compared with: fragility only (no cascade) · the lookup table · today's two-stage model (100 draws, averaged) · the simulator's split-half disagreement, which is the floor.
Training-size curve 17 → 37 → 57 storms: does the error keep falling, or flatten? If it flattens, more GISSR maps will not help; different maps would.
Predictions D0–D6 frozen before training. 24 runs, under an hour each. Verdicts Monday.
Questions for you
1 Agree the split: 50 train / 7 validation / 13 test, by storm?
2 Agree the predictions, especially the flatten rule?
3 Flood-map sources: can we get a few hundred maps that differ in pattern, not only in water level?
4 Drop the no-size-input arm from future runs?
Say: Pre-registered again. The training-size curve tells us whether more maps would help, or only different ones.
Notes: How we will test it. Same thirteen unseen storms, scored against the simulator's own probabilities, against three baselines — fragility only, the lookup, and today's two-stage model — and against the simulator's disagreement with itself, which is the floor at storm level. The important curve is training size: seventeen, thirty-seven, fifty-seven storms. If the error keeps falling, more maps are worth generating; if it flattens, the limit is diversity of maps, not their number, and that is Dr. Lin's few-hundred-maps question answered with data. Predictions are frozen before training; twenty-four runs, under an hour each; verdicts Monday. Four things I need from you: the split, the predictions, flood-map sources, and whether to drop the no-size-input arm.